## Volume Calculator
Additional resources (CAD files, installation guidance, etc) available at:
StormTank.com
Inputs | Project Name: | [12 empty] | Dimensions | Module Bed Dimensions
[16 empty] | Footprint: | 7497 |  |  |  | ft2
[10 empty] | Date: | [5 empty] | Perimeter: | 396 |  |  |  | ft
[5 empty] | Module Bed Dimensions: | 147 |  | ft | x |  | 51 |  | ft |  | Excavation Footprint
|  | Use 3.0' increments |  |  |  | Length |  |  |  |  | Width |  |  |  | to Edge of Stone Backfill
[16 empty] | Footprint: | 7897 |  |  |  | ft2
[10 empty] | Height of Modules: | 36 |  | in |  |  | Perimeter: | 404 |  |  |  | ft
Stone Storage Included:
|  |  |  | All | [6 empty] | Stone Porosity: | 40% |  |  | Stone Backfill Dimensions
[18 empty] | Stone Below Modules: | 6 |  | in
[10 empty] | Bottom of Stone Elevation: | 101 |  | ft |  |  |  |  | Stone Above Modules: | 12 |  | in
[18 empty] | Stone Side Fill Width: | 12 |  | in
[10 empty] | Number of Observation Ports | 5
Typical stone dimensions:
[10 empty] | Number of Pipe Inlets Requiring Debris Row Section: | 2 |  |  |  | 6" below, 12" above, 12" side fill
[6 empty] | Add Impermeable Liner to System: | No
Typical StormTank design does not require an impermeable liner
Results
StormTank Part Quantities:
[5 empty] | Storage Volume in Modules Only: | 21817.936 |  |  | ft3 | [6 empty] | Bottom Layer |  | Top Layer |  | Total
[5 empty] | Storage Volume in Stone Backfill: | 5218.2 |  |  | ft3
[5 empty] | Total Storage Volume Provided: | 27036.136 |  |  | ft3 |  |  |  | Module Height (in) |  |  | 36 |  | N/A |  | 36
[13 empty] | # of Modules |  |  | 1666 |  | N/A |  | 1666
[6 empty] | Required Stone Backfill: | 484 |  | yd3 |  |  |  | # of Platens |  |  | 3332 |  | N/A |  | 3332
[13 empty] | # of Side Panels |  |  | 294 |  | N/A |  | 294
[6 empty] | Estimated Geotextile - Outside of Modules | 1998 |  | yd2 |  |  |  | # of Columns |  |  | 13328 |  | N/A |  | 13328
[6 empty] | Estimated Geotextile - Outside of Stone | 2175 |  | yd2 |  |  |  | # of Stacking Pins |  |  | 0 |  | N/A |  | 0
[6 empty] | Total Estimated Geotextile Fabric: | 4173 |  | yd2 |  |  |  | # of 10" Port Kit(s) |  |  | 5 |  | N/A |  | 5
[6 empty] | Estimated Impermeable Liner | 0 |  | yd2
[18 empty] | Maximum Grade (96" from top of Module to grade): | 112.5
[18 empty] | Min Grade (HS-25 Loading, 24" from top of Module to grade): | 106.5
[18 empty] | Min Grade (HS-20 Loading, 21" from top of Module to grade): | 106.25
[18 empty] | Top of Stone: | 105.5
[18 empty] | Top of Module: | 104.5
[18 empty] | Bottom of Module: | 101.5
[18 empty] | Bottom of Stone: | 101
Stage Storage
Height of System |  |  | Stage |  | Elevation |  |  | Incremental Module Storage |  |  |  | Incremental Stone Storage |  |  | Module & Stone Stage Storage |  |  | Cumulative System Volume
(in) |  |  | (ft) |  | (ft) |  |  | (ft3) |  |  |  | (ft3) |  |  | (ft3) |  |  | (ft3)
54 |  |  | 4.5 |  | 105.5 |  |  | 0 |  |  |  | 263.2333 |  |  | 263.2333 |  |  | 27036.136 |  |  |  | <= Top of Stone
53 |  |  | 4.4167 |  | 105.4167 |  |  | 0 |  |  |  | 263.2333 |  |  | 263.2333 |  |  | 26772.9027
52 |  |  | 4.3333 |  | 105.3333 |  |  | 0 |  |  |  | 263.2333 |  |  | 263.2333 |  |  | 26509.6693
51 |  |  | 4.25 |  | 105.25 |  |  | 0 |  |  |  | 263.2333 |  |  | 263.2333 |  |  | 26246.436
50 |  |  | 4.1667 |  | 105.1667 |  |  | 0 |  |  |  | 263.2333 |  |  | 263.2333 |  |  | 25983.2027
49 |  |  | 4.0833 |  | 105.0833 |  |  | 0 |  |  |  | 263.2333 |  |  | 263.2333 |  |  | 25719.9693
48 |  |  | 4 |  | 105 |  |  | 0 |  |  |  | 263.2333 |  |  | 263.2333 |  |  | 25456.736
47 |  |  | 3.9167 |  | 104.9167 |  |  | 0 |  |  |  | 263.2333 |  |  | 263.2333 |  |  | 25193.5027
46 |  |  | 3.8333 |  | 104.8333 |  |  | 0 |  |  |  | 263.2333 |  |  | 263.2333 |  |  | 24930.2693
45 |  |  | 3.75 |  | 104.75 |  |  | 0 |  |  |  | 263.2333 |  |  | 263.2333 |  |  | 24667.036
44 |  |  | 3.6667 |  | 104.6667 |  |  | 0 |  |  |  | 263.2333 |  |  | 263.2333 |  |  | 24403.8027
43 |  |  | 3.5833 |  | 104.5833 |  |  | 0 |  |  |  | 263.2333 |  |  | 263.2333 |  |  | 24140.5693
42 |  |  | 3.5 |  | 104.5 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 23877.336 |  |  |  | <=Top of Module
41 |  |  | 3.4167 |  | 104.4167 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 23257.9489
40 |  |  | 3.3333 |  | 104.3333 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 22638.5618
39 |  |  | 3.25 |  | 104.25 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 22019.1747
38 |  |  | 3.1667 |  | 104.1667 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 21399.7876
37 |  |  | 3.0833 |  | 104.0833 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 20780.4004
36 |  |  | 3 |  | 104 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 20161.0133
35 |  |  | 2.9167 |  | 103.9167 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 19541.6262
34 |  |  | 2.8333 |  | 103.8333 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 18922.2391
33 |  |  | 2.75 |  | 103.75 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 18302.852
32 |  |  | 2.6667 |  | 103.6667 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 17683.4649
31 |  |  | 2.5833 |  | 103.5833 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 17064.0778
30 |  |  | 2.5 |  | 103.5 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 16444.6907
29 |  |  | 2.4167 |  | 103.4167 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 15825.3036
28 |  |  | 2.3333 |  | 103.3333 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 15205.9164
27 |  |  | 2.25 |  | 103.25 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 14586.5293
26 |  |  | 2.1667 |  | 103.1667 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 13967.1422
25 |  |  | 2.0833 |  | 103.0833 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 13347.7551
24 |  |  | 2 |  | 103 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 12728.368
23 |  |  | 1.9167 |  | 102.9167 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 12108.9809
22 |  |  | 1.8333 |  | 102.8333 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 11489.5938
21 |  |  | 1.75 |  | 102.75 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 10870.2067
20 |  |  | 1.6667 |  | 102.6667 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 10250.8196
19 |  |  | 1.5833 |  | 102.5833 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 9631.4324
18 |  |  | 1.5 |  | 102.5 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 9012.0453
17 |  |  | 1.4167 |  | 102.4167 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 8392.6582
16 |  |  | 1.3333 |  | 102.3333 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 7773.2711
15 |  |  | 1.25 |  | 102.25 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 7153.884
14 |  |  | 1.1667 |  | 102.1667 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 6534.4969
13 |  |  | 1.0833 |  | 102.0833 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 5915.1098
12 |  |  | 1 |  | 102 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 5295.7227
11 |  |  | 0.91667 |  | 101.9167 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 4676.3356
10 |  |  | 0.83333 |  | 101.8333 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 4056.9484
9 |  |  | 0.75 |  | 101.75 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 3437.5613
8 |  |  | 0.66667 |  | 101.6667 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 2818.1742
7 |  |  | 0.58333 |  | 101.5833 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 2198.7871
6 |  |  | 0.5 |  | 101.5 |  |  | 0 |  |  |  | 263.2333 |  |  | 263.2333 |  |  | 1579.4 |  |  |  | <=Bottom of Module
5 |  |  | 0.41667 |  | 101.4167 |  |  | 0 |  |  |  | 263.2333 |  |  | 263.2333 |  |  | 1316.1667
4 |  |  | 0.33333 |  | 101.3333 |  |  | 0 |  |  |  | 263.2333 |  |  | 263.2333 |  |  | 1052.9333
3 |  |  | 0.25 |  | 101.25 |  |  | 0 |  |  |  | 263.2333 |  |  | 263.2333 |  |  | 789.7
2 |  |  | 0.16667 |  | 101.1667 |  |  | 0 |  |  |  | 263.2333 |  |  | 263.2333 |  |  | 526.4667
1 |  |  | 0.083333 |  | 101.0833 |  |  | 0 |  |  |  | 263.2333 |  |  | 263.2333 |  |  | 263.2333
0 |  |  | 0 |  | 101 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  |  | <=Bottom of Stone
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0

## Computations (hidden)
Module Footprint | Module Count | Module Perimeter | Side Panel Count | Module Height | Module Capacity | Total Module Storage Volume | Volume of Module Bed | Module Void Space
ft2 | # | ft | # | in | ft3 | ft^3 | ft^3 | %
7497 | 1666 | 396 | 264 | 36 | 13.096 | 21817.936 | 22491 | 97.01%
Stone Footprint | Stone Perimeter | Height from Bottom to Top of Stone | Stone Porosity | 100% System Volume to Outside of Stone | Counted Stone Volume (Minus Top, Before Void Ratio) | Counted Stone Volume (None) | Counted Stone Volume (Minus Bottom, Before Void Ratio) | Just Stone Volume at 100% Voids | Stone Void % | Counted Storage Volume in Stone with Void Ratio | Required Stone Backfill
ft2 | ft | ft | % | ft3 | ft3 | ft3 | ft3 | ft3 |  |  | yd3
7897 | 404 | 4.5 | 40% | 35536.5 | 27639.5 | 0 | 31588 | 13045.5 | 0.4 | 5218.2 | 484
Geotextile Around Modules | Geotextile Around Stone | Estimated Imp. Liner - Outside of Stone |  | Estimated Imp. Liner - Outside of Modules
yd2 | yd2 | yd2 |  | yd2
1998 | 2175 | 0 |  | 0

## Reference Data (hidden)
Module Stage Storage Per Inch
Height (in) | 12 | 18 | 24 | 30 | 36 | 42 | 48 | 54 | 60 | 66 | 72
72 | [10 empty] | 0.284
71 | [10 empty] | 0.344
70 | [10 empty] | 0.37
69 | [10 empty] | 0.37
68 | [10 empty] | 0.37
67 | [10 empty] | 0.37
66 | [9 empty] | 0.284 | 0.37
65 | [9 empty] | 0.344 | 0.37
64 | [9 empty] | 0.37 | 0.37
63 | [9 empty] | 0.37 | 0.37
62 | [9 empty] | 0.37 | 0.37
61 | [9 empty] | 0.37 | 0.37
60 | [8 empty] | 0.284 | 0.37 | 0.37
59 | [8 empty] | 0.344 | 0.37 | 0.37
58 | [8 empty] | 0.37 | 0.37 | 0.37
57 | [8 empty] | 0.37 | 0.37 | 0.37
56 | [8 empty] | 0.37 | 0.37 | 0.37
55 | [8 empty] | 0.37 | 0.37 | 0.37
54 | [7 empty] | 0.284 | 0.37 | 0.37 | 0.37
53 | [7 empty] | 0.344 | 0.37 | 0.37 | 0.37
52 | [7 empty] | 0.37 | 0.37 | 0.37 | 0.37
51 | [7 empty] | 0.37 | 0.37 | 0.37 | 0.37
50 | [7 empty] | 0.37 | 0.37 | 0.37 | 0.37
49 | [7 empty] | 0.37 | 0.37 | 0.37 | 0.37
48 | [6 empty] | 0.284 | 0.37 | 0.37 | 0.37 | 0.37
47 | [6 empty] | 0.344 | 0.37 | 0.37 | 0.37 | 0.37
46 | [6 empty] | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
45 | [6 empty] | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
44 | [6 empty] | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
43 | [6 empty] | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
42 | [5 empty] | 0.284 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
41 | [5 empty] | 0.344 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
40 | [5 empty] | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
39 | [5 empty] | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
38 | [5 empty] | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.344
37 | [5 empty] | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.284
36 |  |  |  |  | 0.284 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.284
35 |  |  |  |  | 0.344 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.344
34 |  |  |  |  | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
33 |  |  |  |  | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
32 |  |  |  |  | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.344 | 0.37
31 |  |  |  |  | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.284 | 0.37
30 |  |  |  | 0.284 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.284 | 0.37
29 |  |  |  | 0.344 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.344 | 0.37
28 |  |  |  | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
27 |  |  |  | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
26 |  |  |  | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.344 | 0.37 | 0.37
25 |  |  |  | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.284 | 0.37 | 0.37
24 |  |  | 0.284 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.284 | 0.37 | 0.37
23 |  |  | 0.344 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.344 | 0.37 | 0.37
22 |  |  | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
21 |  |  | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
20 |  |  | 0.37 | 0.37 | 0.37 | 0.344 | 0.344 | 0.344 | 0.37 | 0.37 | 0.37
19 |  |  | 0.37 | 0.37 | 0.37 | 0.284 | 0.284 | 0.284 | 0.37 | 0.37 | 0.37
18 |  | 0.284 | 0.37 | 0.37 | 0.37 | 0.284 | 0.284 | 0.284 | 0.37 | 0.37 | 0.37
17 |  | 0.344 | 0.37 | 0.37 | 0.37 | 0.344 | 0.344 | 0.344 | 0.37 | 0.37 | 0.37
16 |  | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
15 |  | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
14 |  | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
13 |  | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
12 | 0.284 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
11 | 0.344 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
10 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
9 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
8 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
7 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
6 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
5 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
4 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
3 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
2 | 0.344 | 0.344 | 0.344 | 0.344 | 0.344 | 0.344 | 0.344 | 0.344 | 0.344 | 0.344 | 0.344
1 | 0.284 | 0.284 | 0.284 | 0.284 | 0.284 | 0.284 | 0.284 | 0.284 | 0.284 | 0.284 | 0.284
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 12 | 18 | 24 | 30 | 36 | 42 | 48 | 54 | 60 | 66 | 72
| 4.216 | 6.436 | 8.656 | 10.876 | 13.096 | 15.092 | 17.312 | 19.532 | 21.752 | 23.972 | 26.192
Height | 12 | 18 | 24 | 30 | 36 | 42 | 48 | 54 | 60 | 66 | 72
1st Layer | 12 | 18 | 24 | 30 | 36 | 24 | 30 | 36 | 36 | 36 | 36
2nd Layer | N/A | N/A | N/A | N/A | N/A | 18 | 18 | 18 | 24 | 30 | 36