## Volume Calculator
Additional resources (CAD files, installation guidance, etc) available at:
StormTank.com
Instructions for entering the footprint & perimeter of non-rectangular StormTank bed designs
Inputs | Project Name: | [11 empty] | Dimensions | Module Bed Dimensions | [7 empty] | 1. Layout StormTank Modules in CAD using rectangular blocks 18" wide and 36" long
[15 empty] | Footprint: | 7497 |  |  |  | ft2 |  | 2. Outline the perimeter of the StormTank Module bed with a polyline
[9 empty] | Date: | [5 empty] | Perimeter: | 396 |  |  |  | ft |  | 3. Enter the area and perimeter of the Modules bed polyline in the Footprint and Perimeter fields listed under Module Bed Dimensions
4. Offset the Module bed polyline by the intended stone side fill width (12" minimum) to create the outline of the excavation footprint
[14 empty] | Excavation Footprint | [7 empty] | 5. Enter the area and perimeter of the excavation footprint polyline in the Footprint and Perimeter fields listed under Excavation Footprint
to Edge of Stone Backfill
[15 empty] | Footprint: | 7897 |  |  |  | ft2
[9 empty] | Height of Modules: | 36 |  | in |  |  | Perimeter: | 404 |  |  |  | ft
Stone Storage Included:
|  |  | All | [6 empty] | Stone Porosity: | 40% |  |  | Stone Backfill Dimensions
[17 empty] | Stone Below Modules: | 6 |  | in
[9 empty] | Bottom of Stone Elevation: | 101 |  | ft |  |  |  |  | Stone Above Modules: | 12 |  | in
[9 empty] | Number of Observation Ports | 5 |  |  |  | Typical stone dimensions:
6" below, 12" above, 12" side fill
[9 empty] | Number of Pipe Inlets Requiring Debris Row Section: | 2
[5 empty] | Add Impermeable Liner to System: | No
Typical StormTank design does not require an impermeable liner
Results
StormTank Part Quantities:
|  |  |  | Storage Volume in Modules Only: | 21817.936 |  |  | ft3 | [6 empty] | Bottom Layer |  | Top Layer |  | Total
|  |  |  | Storage Volume in Stone Backfill: | 5218.2 |  |  | ft3
|  |  |  | Total Storage Volume Provided: | 27036.136 |  |  | ft3 |  |  |  | Module Height (in) |  |  | 36 |  | N/A |  | 36
[12 empty] | # of Modules |  |  | 1666 |  | N/A |  | 1666
[5 empty] | Required Stone Backfill: | 484 |  | yd3 |  |  |  | # of Platens |  |  | 3332 |  | N/A |  | 3332
[12 empty] | # of Side Panels |  |  | 294 |  | N/A |  | 294
[5 empty] | Estimated Geotextile - Outside of Modules | 1998 |  | yd2 |  |  |  | # of Columns |  |  | 13328 |  | N/A |  | 13328
[5 empty] | Estimated Geotextile - Outside of Stone | 2175 |  | yd2 |  |  |  | # of Stacking Pins |  |  | 0 |  | N/A |  | 0
[5 empty] | Total Estimated Geotextile Fabric: | 4173 |  | yd2 |  |  |  | # of 10" Port Kit(s) |  |  | 5 |  | N/A |  | 5
[5 empty] | Estimated Impermeable Liner | 0 |  | yd2
[17 empty] | Maximum Grade (96" from top of Module to grade): | 112.5
[17 empty] | Min Grade (HS-25 Loading, 24" from top of Module to grade): | 106.5
[17 empty] | Min Grade (HS-20 Loading, 21" from top of Module to grade): | 106.25
[17 empty] | Top of Stone: | 105.5
[17 empty] | Top of Module: | 104.5
[17 empty] | Bottom of Module: | 101.5
[17 empty] | Bottom of Stone: | 101
Stage Storage
Height of System |  | Stage |  | Elevation |  |  | Incremental Module Storage |  |  |  | Incremental Stone Storage |  |  | Module & Stone Stage Storage |  |  | Cumulative System Volume
(in) |  | (ft) |  | (ft) |  |  | (ft3) |  |  |  | (ft3) |  |  | (ft3) |  |  | (ft3)
54 |  | 4.5 |  | 105.5 |  |  | 0 |  |  |  | 263.2333 |  |  | 263.2333 |  |  | 27036.136 |  |  |  | <= Top of Stone
53 |  | 4.4167 |  | 105.4167 |  |  | 0 |  |  |  | 263.2333 |  |  | 263.2333 |  |  | 26772.9027
52 |  | 4.3333 |  | 105.3333 |  |  | 0 |  |  |  | 263.2333 |  |  | 263.2333 |  |  | 26509.6693
51 |  | 4.25 |  | 105.25 |  |  | 0 |  |  |  | 263.2333 |  |  | 263.2333 |  |  | 26246.436
50 |  | 4.1667 |  | 105.1667 |  |  | 0 |  |  |  | 263.2333 |  |  | 263.2333 |  |  | 25983.2027
49 |  | 4.0833 |  | 105.0833 |  |  | 0 |  |  |  | 263.2333 |  |  | 263.2333 |  |  | 25719.9693
48 |  | 4 |  | 105 |  |  | 0 |  |  |  | 263.2333 |  |  | 263.2333 |  |  | 25456.736
47 |  | 3.9167 |  | 104.9167 |  |  | 0 |  |  |  | 263.2333 |  |  | 263.2333 |  |  | 25193.5027
46 |  | 3.8333 |  | 104.8333 |  |  | 0 |  |  |  | 263.2333 |  |  | 263.2333 |  |  | 24930.2693
45 |  | 3.75 |  | 104.75 |  |  | 0 |  |  |  | 263.2333 |  |  | 263.2333 |  |  | 24667.036
44 |  | 3.6667 |  | 104.6667 |  |  | 0 |  |  |  | 263.2333 |  |  | 263.2333 |  |  | 24403.8027
43 |  | 3.5833 |  | 104.5833 |  |  | 0 |  |  |  | 263.2333 |  |  | 263.2333 |  |  | 24140.5693
42 |  | 3.5 |  | 104.5 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 23877.336 |  |  |  | <=Top of Module
41 |  | 3.4167 |  | 104.4167 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 23257.9489
40 |  | 3.3333 |  | 104.3333 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 22638.5618
39 |  | 3.25 |  | 104.25 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 22019.1747
38 |  | 3.1667 |  | 104.1667 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 21399.7876
37 |  | 3.0833 |  | 104.0833 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 20780.4004
36 |  | 3 |  | 104 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 20161.0133
35 |  | 2.9167 |  | 103.9167 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 19541.6262
34 |  | 2.8333 |  | 103.8333 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 18922.2391
33 |  | 2.75 |  | 103.75 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 18302.852
32 |  | 2.6667 |  | 103.6667 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 17683.4649
31 |  | 2.5833 |  | 103.5833 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 17064.0778
30 |  | 2.5 |  | 103.5 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 16444.6907
29 |  | 2.4167 |  | 103.4167 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 15825.3036
28 |  | 2.3333 |  | 103.3333 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 15205.9164
27 |  | 2.25 |  | 103.25 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 14586.5293
26 |  | 2.1667 |  | 103.1667 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 13967.1422
25 |  | 2.0833 |  | 103.0833 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 13347.7551
24 |  | 2 |  | 103 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 12728.368
23 |  | 1.9167 |  | 102.9167 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 12108.9809
22 |  | 1.8333 |  | 102.8333 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 11489.5938
21 |  | 1.75 |  | 102.75 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 10870.2067
20 |  | 1.6667 |  | 102.6667 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 10250.8196
19 |  | 1.5833 |  | 102.5833 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 9631.4324
18 |  | 1.5 |  | 102.5 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 9012.0453
17 |  | 1.4167 |  | 102.4167 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 8392.6582
16 |  | 1.3333 |  | 102.3333 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 7773.2711
15 |  | 1.25 |  | 102.25 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 7153.884
14 |  | 1.1667 |  | 102.1667 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 6534.4969
13 |  | 1.0833 |  | 102.0833 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 5915.1098
12 |  | 1 |  | 102 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 5295.7227
11 |  | 0.91667 |  | 101.9167 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 4676.3356
10 |  | 0.83333 |  | 101.8333 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 4056.9484
9 |  | 0.75 |  | 101.75 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 3437.5613
8 |  | 0.66667 |  | 101.6667 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 2818.1742
7 |  | 0.58333 |  | 101.5833 |  |  | 606.0538 |  |  |  | 13.3333 |  |  | 619.3871 |  |  | 2198.7871
6 |  | 0.5 |  | 101.5 |  |  | 0 |  |  |  | 263.2333 |  |  | 263.2333 |  |  | 1579.4 |  |  |  | <=Bottom of Module
5 |  | 0.41667 |  | 101.4167 |  |  | 0 |  |  |  | 263.2333 |  |  | 263.2333 |  |  | 1316.1667
4 |  | 0.33333 |  | 101.3333 |  |  | 0 |  |  |  | 263.2333 |  |  | 263.2333 |  |  | 1052.9333
3 |  | 0.25 |  | 101.25 |  |  | 0 |  |  |  | 263.2333 |  |  | 263.2333 |  |  | 789.7
2 |  | 0.16667 |  | 101.1667 |  |  | 0 |  |  |  | 263.2333 |  |  | 263.2333 |  |  | 526.4667
1 |  | 0.083333 |  | 101.0833 |  |  | 0 |  |  |  | 263.2333 |  |  | 263.2333 |  |  | 263.2333
0 |  | 0 |  | 101 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  |  | <=Bottom of Stone
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
-999 |  | 0 |  | 0 |  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0

## Computations (hidden)
Module Footprint | Module Count | Module Perimeter | Side Panel Count | Module Height | Module Capacity | Total Module Storage Volume | Volume of Module Bed | Module Void Space
ft2 | # | ft | # | in | ft3 | ft^3 | ft^3 | %
7497 | 1666 | 396 | 264 | 36 | 13.096 | 21817.936 | 22491 | 97.01%
Stone Footprint | Stone Perimeter | Height from Bottom to Top of Stone | Stone Porosity | 100% System Volume to Outside of Stone | Counted Stone Volume (Minus Top, Before Void Ratio) | Counted Stone Volume (None) | Counted Stone Volume (Minus Bottom, Before Void Ratio) | Just Stone Volume at 100% Voids | Stone Void % | Counted Storage Volume in Stone with Void Ratio | Required Stone Backfill
ft2 | ft | ft | % | ft3 | ft3 | ft3 | ft3 | ft3 |  |  | yd3
7897 | 404 | 4.5 | 40% | 35536.5 | 27639.5 | 0 | 31588 | 13045.5 | 0.4 | 5218.2 | 484
Geotextile Around Modules | Geotextile Around Stone | Estimated Imp. Liner - Outside of Stone |  | Estimated Imp. Liner - Outside of Modules
yd2 | yd2 | yd2 |  | yd2
1998 | 2175 | 0 |  | 0

## Reference Data (hidden)
Module Stage Storage Per Inch
Height (in) | 12 | 18 | 24 | 30 | 36 | 42 | 48 | 54 | 60 | 66 | 72
72 | [10 empty] | 0.284
71 | [10 empty] | 0.344
70 | [10 empty] | 0.37
69 | [10 empty] | 0.37
68 | [10 empty] | 0.37
67 | [10 empty] | 0.37
66 | [9 empty] | 0.284 | 0.37
65 | [9 empty] | 0.344 | 0.37
64 | [9 empty] | 0.37 | 0.37
63 | [9 empty] | 0.37 | 0.37
62 | [9 empty] | 0.37 | 0.37
61 | [9 empty] | 0.37 | 0.37
60 | [8 empty] | 0.284 | 0.37 | 0.37
59 | [8 empty] | 0.344 | 0.37 | 0.37
58 | [8 empty] | 0.37 | 0.37 | 0.37
57 | [8 empty] | 0.37 | 0.37 | 0.37
56 | [8 empty] | 0.37 | 0.37 | 0.37
55 | [8 empty] | 0.37 | 0.37 | 0.37
54 | [7 empty] | 0.284 | 0.37 | 0.37 | 0.37
53 | [7 empty] | 0.344 | 0.37 | 0.37 | 0.37
52 | [7 empty] | 0.37 | 0.37 | 0.37 | 0.37
51 | [7 empty] | 0.37 | 0.37 | 0.37 | 0.37
50 | [7 empty] | 0.37 | 0.37 | 0.37 | 0.37
49 | [7 empty] | 0.37 | 0.37 | 0.37 | 0.37
48 | [6 empty] | 0.284 | 0.37 | 0.37 | 0.37 | 0.37
47 | [6 empty] | 0.344 | 0.37 | 0.37 | 0.37 | 0.37
46 | [6 empty] | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
45 | [6 empty] | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
44 | [6 empty] | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
43 | [6 empty] | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
42 | [5 empty] | 0.284 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
41 | [5 empty] | 0.344 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
40 | [5 empty] | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
39 | [5 empty] | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
38 | [5 empty] | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.344
37 | [5 empty] | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.284
36 |  |  |  |  | 0.284 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.284
35 |  |  |  |  | 0.344 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.344
34 |  |  |  |  | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
33 |  |  |  |  | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
32 |  |  |  |  | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.344 | 0.37
31 |  |  |  |  | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.284 | 0.37
30 |  |  |  | 0.284 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.284 | 0.37
29 |  |  |  | 0.344 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.344 | 0.37
28 |  |  |  | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
27 |  |  |  | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
26 |  |  |  | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.344 | 0.37 | 0.37
25 |  |  |  | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.284 | 0.37 | 0.37
24 |  |  | 0.284 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.284 | 0.37 | 0.37
23 |  |  | 0.344 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.344 | 0.37 | 0.37
22 |  |  | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
21 |  |  | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
20 |  |  | 0.37 | 0.37 | 0.37 | 0.344 | 0.344 | 0.344 | 0.37 | 0.37 | 0.37
19 |  |  | 0.37 | 0.37 | 0.37 | 0.284 | 0.284 | 0.284 | 0.37 | 0.37 | 0.37
18 |  | 0.284 | 0.37 | 0.37 | 0.37 | 0.284 | 0.284 | 0.284 | 0.37 | 0.37 | 0.37
17 |  | 0.344 | 0.37 | 0.37 | 0.37 | 0.344 | 0.344 | 0.344 | 0.37 | 0.37 | 0.37
16 |  | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
15 |  | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
14 |  | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
13 |  | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
12 | 0.284 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
11 | 0.344 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
10 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
9 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
8 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
7 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
6 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
5 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
4 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
3 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37
2 | 0.344 | 0.344 | 0.344 | 0.344 | 0.344 | 0.344 | 0.344 | 0.344 | 0.344 | 0.344 | 0.344
1 | 0.284 | 0.284 | 0.284 | 0.284 | 0.284 | 0.284 | 0.284 | 0.284 | 0.284 | 0.284 | 0.284
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 12 | 18 | 24 | 30 | 36 | 42 | 48 | 54 | 60 | 66 | 72
| 4.216 | 6.436 | 8.656 | 10.876 | 13.096 | 15.092 | 17.312 | 19.532 | 21.752 | 23.972 | 26.192
Height | 12 | 18 | 24 | 30 | 36 | 42 | 48 | 54 | 60 | 66 | 72
1st Layer | 12 | 18 | 24 | 30 | 36 | 24 | 30 | 36 | 36 | 36 | 36
2nd Layer | N/A | N/A | N/A | N/A | N/A | 18 | 18 | 18 | 24 | 30 | 36